# Sample Operating Log for Chillers

| Job Name |  |  | Date |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Tag |  |  |  |  |  |  |  |  |
| Model # |  |  | Time |  |  |  |  |  |
| Serial # |  |  |  |  |  |  |  |  |
| Full Load Design |  | Operating Condition |  |  |  |  |  |  |
|  |  | Operating Code |  |  |  |  |  |  |
|  |  | Last Diagnostic |  |  |  |  |  |  |
| __________degF |  | LCHW Setpoint |  |  |  |  |  |  |
|  |  | Current Limit Setpoint |  |  |  |  |  |  |
|  |  | Start # |  |  |  |  |  |  |
|  |  | Run Hours |  |  |  |  |  |  |
| __________Volts |  | Volts – AB |  |  |  |  |  |  |
| __________Hertz |  | Volts – AC |  |  |  |  |  |  |
|  |  | Volts – BC |  |  |  |  |  |  |
|  |  | Amps L1 |  |  |  |  |  |  |
|  |  | Amps L2 |  |  |  |  |  |  |
|  |  | Amps L3 |  |  |  |  |  |  |
|  |  | Amps AVG |  |  |  |  |  |  |
| __________RLA |  | % of RLA |  |  |  |  |  |  |
|  |  | Oil Sump Temperature |  |  |  |  |  |  |
|  |  | Oil Temperature to Bearings |  |  |  |  |  |  |
|  |  | Oil Level |  |  |  |  |  |  |
|  |  | Low Oil Pressure |  |  |  |  |  |  |
|  |  | High Oil Pressure |  |  |  |  |  |  |
|  |  | Net Oil Pressure |  |  |  |  |  |  |
|  |  | Operating Purge Pressure |  |  |  |  |  |  |
|  |  | Operating Purge Oil Level |  |  |  |  |  |  |
|  |  | Purge Starts |  |  |  |  |  |  |
|  |  | Purge Run Hours |  |  |  |  |  |  |
| _____PSID_____gpm |  | CHW PSID |  |  |  |  |  |  |
| __________degF |  | CHW Temperature in |  |  |  |  |  |  |
| __________degF |  | CHW Temperature out |  |  |  |  |  |  |
| __________degF |  | CHW Temperature Differential |  |  |  |  |  |  |
|  |  | CHW Makeup Water |  |  |  |  |  |  |
|  |  | Evaporator Temperature |  |  |  |  |  |  |
|  |  | Evaporator Pressure |  |  |  |  |  |  |
| _____PSID_____gpm |  | CW PSI Differential |  |  |  |  |  |  |
| __________degF |  | CW Temperature in |  |  |  |  |  |  |
| __________degF |  | CW Temperature out |  |  |  |  |  |  |
| __________degF |  | CW Temperature Differential |  |  |  |  |  |  |
|  |  | Condenser Temperature |  |  |  |  |  |  |
|  |  | Condenser Pressure |  |  |  |  |  |  |
|  |  | Cooling Tower Makeup Water |  |  |  |  |  |  |
|  |  | CHW Makeup Water |  |  |  |  |  |  |
|  |  | Operator Initials |  |  |  |  |  |  |